**. Southern Boone County R-1 School District**

**2nd ERATE Walkthrough Q & A’s**

General:

Does it matter what type of patch panels are used?

 Primary, Elementary, and Middle School: Panduit brand. Bids for functionally equivalent equipment are OK.

 High School: Leviton brand. Bids for functionally equivalent equipment are OK.

How many VLANS do we have in the district?

 11 including the interconnect

Primary:

Are we responsible for shifting everything down in the current rack?

 This needs to be done by the vendor that is awarded the contract

Elementary:

Is the district going to purchase the additional rack or is the vendor responsible for this need?

 The vendor is responsible for the additional rack needed to mount the new UPS

Middle School:

 No Questions Asked

High School:

Do we need to add an additional rack to this room or will the existing rack be reorganized to hold the new equipment?

 The vendor be responsible for new 12u rack to match the current rack