## Internal Connections
Internal Connections-District Shared
Type of Equipment | Qty | Make/Manufacturer
Antennas, Connectors and Related Components | 10 | Cisco SFP-10G-LR-SM fiber modules or functional equivalent.
Cabling | 5 | Single-mode fiber cabling to connect existing network racks to support 10Gb connectivity.
Cabling | 3 | 10Gb Direct attach copper SFP cables for wireless controller and firewall uplink (2 meter) or functional equivalent
Wireless Controller | 1 | Cisco AIR-CT5520 or functional equivalent
Internal Connections-High School
Type of Equipment | Qty | Make/Manufacturer
Cabling | 7 | Cat6 plenum network cabling
Racks | 1 | Tripplite 2x3 wall mounted enclosed network cabinet w/fire-rated backboard and grounding, or functional equivalent.
Switches | 2 | Cisco C9300-48P or functional equivalent
Switches | 1 | Cisco C9300-48U w/additional POE or functional equivalent
Switches | 2 | Cisco C9300-NM-8X modules or functional equivalent
Switches | 3 | Cisco DNA Advantage or functional equivalent
Antennas, Connectors and Related Components | 3 | Cisco FlexStack-Plus hot-swappable stacking modules/stacking cables or functional equivalent
Wireless Access Points | 2 | Cisco 3802I or functional equivalent
Internal Connections-Middle School
Type of Equipment | Qty | Make/Manufacturer
Cabling | 8 | Cat6 plenum network cabling
Switches | 5 | Cisco C9300-48P or functional equivalent
Switches | 4 | Cisco C9300-48U w/additional POE or functional equivalent
Switches | 3 | Cisco C9300-NM-8X modules or functional equivalent
Switches | 9 | Cisco DNA Advantage or functional equivalent
Antennas, Connectors and Related Components | 9 | Cisco FlexStack-Plus hot-swappable stacking modules/stacking cables or functional equivalent
Wireless Access Points | 3 | Cisco 3802I or functional equivalent
UPS/Battery Backups | 2 | Tripplite 1500 rack mount UPS or functional equivalent
Internal Connections-New Elementary
Type of Equipment | Qty | Make/Manufacturer
Cabling | 125 | Cat6 plenum network cabling
Cabling | 2 | Single-mode fiber cabling to connect existing network racks to support 10Gb connectivity.
Rack | 1 | Tripplite 42U floor mount enclosed network cabinet with grounding or functional equivalent
Rack | 2 | Tripplite 2x3 wall mounted enclosed network cabinet w/fire-rated backboard and grounding or functional equivalent
Switches | 7 | Cisco C9300-48P or functional equivalent
Switches | 3 | Cisco C9300-48U w/additional POE or functional equivalent
Switches | 3 | Cisco C9300-NM-8X modules or functional equivalent
Switches | 11 | Cisco DNA Advantage or functional equivalent
Antennas, Connectors and Related Components | 10 | Cisco FlexStack-Plus hot-swappable stacking modules/stacking cables or functional equivalent
Cabling | 3 | 10Gb Direct attach copper SFP cables for wireless controller and firewall uplink (2 meter) or functional equivalent
Antennas, Connectors and Related Components | 6 | Cisco SFP-10G-LR-SM fiber modules or functional equivalent.
Wireless Controller | 1 | Cisco AIR-CT5520 or functional equivalent
Wireless Access Points | 25 | Cisco 3802I or functional equivalent
UPS/Battery Backup | 4 | Tripplite 1500 rack mount or functional equivalent
Firewall Service and Components | 1 | Watchguard M470 Firewall appliance w/3 year basic security suite or functional equivalent

## Existing BMIC and MIBS
Manufacturer/Model | Serial Number | Basic Maintenance | MIBS
Firewall
WatchGuard M470 - Admin | 801003610-2CAF | Yes | Yes
Wireless Controller & Wireless Access Points
Cisco AIR-CT2504-K9 - Admin | PSZ173000E0 | Yes | Yes
Cisco AIR-CAP3602I-AK9 - Quantity 50 |  | Yes | Yes
Network Switches
Cisco WS-C3560X-48T-S - HS | FDO1717P237 | Yes | Yes
Cisco WS-C2960S-48FPS-L - HS | FOC1733S0E3 | Yes | Yes
Cisco WS-C2960S-48FPS-L - MS | FOC1733S0EK | Yes | Yes
Cisco WS-C2960S-48FPS-L - MS | FOC1733S0D0 | Yes | Yes
Cisco WS-C2960S-48FPS-L - MS | FOC1733S0FG | Yes | Yes
Cisco WS-C2960S-48FPS-L - MS | FOC1733S0JG | Yes | Yes
Cisco WS-C2960S-48FPS-L - Admin | FOC1733S0JJ | Yes | Yes
Cisco WS-C2960S-48FPS-L - HS | FOC1733S0D2 | Yes | Yes
Cisco WS-C2960S-48FPS-L - HS | FOC1733S0EJ | Yes | Yes
Cisco WS-C2960S-48FPS-L - MS | FOC1733S0JU | Yes | Yes
Cisco WS-C2960X-48FPD-L - HS | SFJC2228W2Z0 | Yes | Yes