1. What is the height of the classroom ceilings?

Standard classroom height, approximately 10 foot ceilings.

1. What is the timeline for the install?

All items will be installed over the Summer 2021 school break.

1. What brand of UPS (battery backups), CyberPower or another brand okay?

We are requesting One (1) CyberPower PR2000RTXL2U ups device with Two (2)   
 CyberPower BP48VP2U02 Extended Battery Modules. Bios for equivalents accepted.

1. Will a map be provided or will the technology staff be present during the install?

Yes, we will have a campus map with each AP and UPS location marked. Technology staff will be on site during the install but may not be with the installers directly 100% of the time.

1. Will programming of the AP’s be required?

The AP’s will install onto our SmartZone controller when they are connected. Any programming changes that may be needed we will make. We are requiring them to be renamed with the campus & room number locations similar to our current naming scheme. We will provide examples.

1. When is the bid due?

11/16 11:59 PM Pacific Time

1. Is there a form 470 anywhere?

Yes, in USAC’s EPC system. 210000876

1. How many AP’s total across the district?

Amount of total AP’s in the district is not relevant, we are only replacing the AP’s at the   
 high school campus. It is a one for one swap, upgrade to a newer model.

1. Is there a floor plan available?

One will be provided with each AP and UPS location marked to whomever the erate is awarded to, we will not provide campus maps to bid submitters for safety reasons. .

1. What is the seating capacity in the HS theater?

??? Not sure if this is apacatiable, we are asking to replace the existing AP’s, not add or increase wireless density.

1. Is installation needed as well?

Yes all AP’s and UPS items are required to be installed. These are replacing existing items in existing locations.

1. Will the Athletics at the HS need AP’s replaced too?

Yes, those AP’s are included in the total count that was placed in the erate information and are considered to be High School since they are located on the high school campus building.