## Sheet1
| Notes | Number of AP4000 APs | Number of Cable Runs For Aps | Number of AP5010 APs | Number of Outdoor AP5050 Aps | Other Cable Drops (non Wifi) | Other Drop Locations | POE Switches
Primary | 2-Cafeteria AP5010 1-GYM AP5010 2-Library AP5010 | 55 | 10 | 5 | 2 | 0 |  | 6
Intermediate | 1- Safe Room (AP5010) 1- DIS Gym (AP5010) 2- Cafeteria (AP5010) 1- Library (AP5010) | 36 | 16 | 5 | 1 | 0 |  | 2
Middle | 2-Safe Room (AP5010) 2-GYM (AP5010) 2-Cafeteria (AP5010) 2-Library (AP5010) | 47 | 20 | 8 | 0 | 0 |  | 2
High | Location -# of AP, # of Drops Main Building- 39, 12 Wing - 21, 8 GYM- 5, 5 ( 2 of these will be AP5010) 2-Library (AP5010) 2-Cafeteria (AP5010) 1-Band (AP5010) BOB- 4, 4 (2 of these will be AP5010) Safe Room- 2, 0 (2 will be AP5010) Field House- 1, 1 - P2P Wireless system from BOB | 61 | 30 | 11 | 2 | 36 | 2-East Lab (144) 2- Parker Room (106) 32-Computer Lab (143) | 3
Central Office |  | 4 | 0 | 0 | 0 | 0 |  | 0
Tech Office/ALE | 2-Tech office 2- ALE | 4 | 3 | 0 | 0 | 0 |  | 0
Total |  | 207 | 79 | 29 | 5 | 36 |  | 13
Map Key
0 | Current Access Point /w Working Network Drop
X | Access point - Working Cable Drop
XX | No Access Point - No Cable Drop
0X | Current Access Point - Needs new cable Drop