Dewar site visit QA:

1. Will everything have to be moved from the old rack to the new rack? Yes, all three racks will be “rip & replace." Remove everything from the rack, remove old rack, install new rack and put back all equipment & cabling.

2. Do the racks need to be enclosed? Only one, the 8U rack in the library building needs to be enclosed. The 2-post rack in the main building-NOT enclosed. The 6U rack in the gym building-Not enclosed.