Q & As for Frontier Schools Inc Walkthroughs

Should cables be terminated into a patch panel in the network rack or directly to RJ45? Directly to RJ45 and RJ45 will plug directly into network switches
What rack or cabinet will they be mounted in? No need for rack or cabinet installation.
Do you want labels or numbering for each drop? Yes
Will fiber uplinks be required between closets? Only one fiber from first floors to the second floors 
Do you need rack installation or cable management trays included?  No need for rack and cable management trays
Are you providing the materials, or will the vendor supply them? Vendor

Which type of cable is required for this installation? Cat6A (10 Gbps)  
Do you require configuration of the devices (firewall, switches, access points), or only the physical installation? Only physical installation.