## Sheet1
Owasso Public Schools - Erate 2023-2024 Year 26 Requested Items for Bid |  | Rack | Switch | UPS | Patch Cable | AP410C or equivalent | AP510c or equivalent | AP510CX or equivalent | GBIC | Network Drops | Stacking Cable | Fiber Enclosure | Modular Cat6 Patch Panel
6GC | Gym - Upgrade to AP510CX or equivalent | [6 empty] | 2
| Cafe- Upgrade to AP510C or equivalent | [5 empty] | 2
| Library - Upgrade to AP510C or equivalent | [5 empty] | 1
| Site-wide - Upgrade AP250/AP550 to AP410C or equivalent |  |  |  |  | 56
7GC | Gym - Upgrade to AP510CX or equivalent | [6 empty] | 2
| Cafe- Upgrade to AP510C or equivalent | [5 empty] | 2
| Library - Upgrade to AP510C or equivalent | [5 empty] | 1
| Site-wide - Upgrade AP250/AP550 to AP410C or equivalent |  |  |  |  | 51
7GC - Room 110 ( IDF D) | Replace existing UPS |  |  | 2
7GC SPED Closet to MDF | FIBER RUN - Replace existing 6 strand fiber with minimum of 30 strand single mode fiber between SPED closet and Office MDF
Fusion splice 24 strands to existing closet connections for IDF D (Library), IDF E (Rm110), IDF F (SPED), and IDF G (2ndFlr) - Provide ODTR Report for connections
FIBER RUN - Fusion splice 6 strands and terminate in Band Room - Provide ODTR Report for connections
| Fiber enclosure for splice trays | [10 empty] | 1
7GC Office closet - MDF | Replace existing rack mount fiber enclosures with one enclosure to support all 7GC closet connections - LC Connectors | [10 empty] | 1
| Add 10GB SM LC GBIC Modules | [7 empty] | 5
7GC - Band Room | Add 6U Enclosed, glanded, lockable, wall mount cabinet | 1
| Rack mount Fiber enclosure - LC connector | [10 empty] | 1
| Modular Cat6e patch panel | [11 empty] | 1
| Add 10GB SM LC GBIC Module | [7 empty] | 2
| Add Dell N2248PX-ON or equivalent |  | 1
| Add fiber patch cable - LC |  |  |  | 2
| Add UPS |  |  | 1
Terminate existing Cat6 connection in panel
Ator Elementary | Gym - Upgrade to AP510CX or equivalent | [6 empty] | 2
| Cafe- Upgrade to AP510C or equivalent | [5 empty] | 1
| Library - Upgrade to AP510C or equivalent | [5 empty] | 1
| Site-wide - Upgrade AP250/AP550 to AP410C or equivalent |  |  |  |  | 39
Ator Library MDF | Replace UPS |  |  | 1
Ator Room 12 - IDF C | Replace cabinet with 18U enclosed, glanded, lockable cabinet | 1
| Replace 1, add 1 UPS |  |  | 2
Bailey Elementary | Gym - Upgrade to AP510CX or equivalent | [6 empty] | 2
| Cafe- Upgrade to AP510C or equivalent | [5 empty] | 1
| Library - Upgrade to AP510C or equivalent | [5 empty] | 1
| Site-wide - Upgrade AP250/AP550 to AP410C or equivalent |  |  |  |  | 45
Barnes Elementary | Gym - Upgrade to AP510CX or equivalent | [6 empty] | 1
| Gym - Upgrade AP250 to AP510C or equivalent | [5 empty] | 1
| Cafe- Upgrade to AP510C or equivalent | [5 empty] | 1
| Library - Upgrade to AP510C or equivalent | [5 empty] | 2
| Site-wide - Upgrade AP250/AP550 to AP410C or equivalent |  |  |  |  | 38
Hodson Rm23 - IDF C | Replace UPS |  |  | 1
Mills - Library MDF | Replace UPS |  |  | 3
Morrow - IDF2 South | Add Dell N2248PX-ON or equivilant |  | 1
| Add switch stacking cable | [9 empty] | 1
Northeast - MDF | Add UPS |  |  | 1
Northeast - Room 128 (IDF B) | Replace cabinet with 18U enclosed, glanded, lockable cabinet OR add 2nd cabinet w/patch panel | 1
(may require cabinet relocation) | Replace UPS |  |  | 1
| Add Dell N224848PX-ON or equivilant |  | 1
| Add switch stacking cable | [9 empty] | 1
| Modular Cat6e patch panel | [11 empty] | 1
Smith - Library MDF | Add UPS |  |  | 1
Smith - Café storage rm (IDF B) | Replace UPS |  |  | 1
Smith - Rm128 (IDF C) | Replace UPS |  |  | 1
Stone Canyon - Hall closet (IDF B) | Replace two cabinets with one 36U enclosed, glanded, lockable cabinet | 1
| Add 1, replace 1 UPS |  |  | 2
8GC Gym Office (IDF E) | Add 8U enclosed, glanded, lockable cabinet | 1
| Rack mount Fiber enclosure | [10 empty] | 1
| Modular Cat6e patch panel | [11 empty] | 1
Terminate existing Cat6 connection in panel
OHS East - Basketball Gym Closet | FIBER RUN - 6 strand SM fiber to MDF
| Rack mount Fiber enclosure - LC connector | [10 empty] | 1
| Add 10GB SM LC GBIC Module | [7 empty] | 2
| Add single mode fiber patch cable |  |  |  | 2
OHS Wellness - Gym Closet | Replace cabinet with 18U, glanded, lockable, wall-mount rack | 1
Totals |  | 6 | 3 | 17 | 4 | 229 | 14 | 9 | 9 | 0 | 2 | 5 | 3
470 Function Totals | [7 empty] | Total to Bid
Cabling | 2 - switch stacking cables, 4 - single-mode patch cable - LC, 3 - fiber runs between closets | [6 empty] | 9
Patch Panels | 5 - fiber enclosures & required connectors, 2 - Cat6 Patch Panel | [6 empty] | 7
Racks | 6 - racks | [6 empty] | 6
Switches | 3 - switches | [6 empty] | 3
UPS/Battery Backups | 17 - UPS | [6 empty] | 17
WAP | 252 WAP | [6 empty] | 252
Antennas, Connectors and Related | 9 - GBIC Modules | [6 empty] | 9
All Devices: | Must provide location and mac address/serial number for all devices
Licensing: | Requesting Erate eligible licensing for switches and WAPs
Reports: | Must provide OTDR report for fiber termination within range of 1310±10 nm and 1550±20 nm single mode nominal wavelength for testing in accordance with Telecommunications Industry Association (TIA) TIA-526-7 Measurement of Optical Power Loss of Installed Single-Mode Fiber Cable Plant.

## Sheet2
Type of Equipment | Quanity Veendor Should Bid | Preferred Make/Manufactur | Compatibility Requirements | Request Bids for Installation, Activation or Initial Configuration
Antennas, Connectors and Reated Components | 9 - 10GB SM LC GBIC Module 5 - fiber enclosures & required connectors 3 - Cat6 Modular Patch Panel | Dell Leviton Leviton | Must be compatible with existing equipment and new equipment | Installation
Cabling | 2 - Switch Stacking Cables 3 - Single Mode Fiber runs, 30 strand, 6 strand, 6 strand, LC connections 4 - Single Mode Fiber Pach cable - LC |  |  | Installation
Caching Server
Firewall Service and Components
Racks | 7 | Tripp Lite / Hoffman | Must be lockable and glanded. Switches & equipment must fit fully in racks | Installation
Router
Switches | 3 | Dell N2248PX-ON | Must be stackable with existing switches in cabinet | Installation & Configuration
UPS/Battery Backup | 25 | Tripp Lite SMART 1500RM2UN | Must have network interface | Installation & Configuration
Wireless Access Points | 255 | Extreme/Aerohive | Must be compatible with ExtremeCloud IQ Management | Installation & Configuration
Wireless Controller