Site visit on 10-18-2021

Q&A

Q- Are all drops being run for access points (and not wall drops)?

A- Yes, all drops will be to access points.

Q- What kind/color cable should be used?

A- Yellow Cat6

Q- Should patch cables be included?

A- Yes

Q- Do any rooms have hard ceilings?

A- No, all rooms have drop ceilings.

Q- Is rack space available?

A- Yes, each wiring closet has rack space available.

Q- Do you want all of the new switches and modules installed?

A- Yes, and configured.

Q- Are any SFP modules needed?

A- No