QUESTION

 **Can you please depict what Eaton UPS the EBM will be getting added on to? Also, can you provide the electrical input connection and receptacles for all the other UPSs? Are network cards needed for the UPSs? Are there any rack needs?**

**Answer:**

Can you please depict what Eaton UPS the EBM will be getting added on to?

**Eaton UPS 9PX 5000 EBM**

Also, can you provide the electrical input connection and receptacles for all the other UPSs?

**standard 110 wall outlets**

Are network cards needed for the UPSs?

**no network cards**

Are there any rack needs?

**no new racks**