**Southern Boone County Schools**

**Questions and answers from Vendor Walkthrough 10/16/18**

Questions asked during the Elementary Walkthrough:

1. Is the elementary switch an IDF or MDF?
   1. Yes, the elementary is an MDF.
2. Where do you want the wireless access points located in each room?
   1. WAPs need to be located in the middle of ceiling for classrooms.
3. Do the vendors provide the wireless access points?
   1. Yes.
4. What type of wiring do you want?
   1. CAT 6 wiring will need to be used for all cabling.
5. Is this project internal or will the project extend outside of the school campus?
   1. The project is internal.
6. How high off the floor will the wireless access points be installed in the gym?
   1. WAP will be installed in the ceiling rafters.
7. Can the district provide a lift for work completed in the gym?
   1. Yes.

Questions asked during the Middle School Walkthrough:

1. Is there an Aruba controller per building:
   1. There is one controller for the entire district that is broken down into sections for each building. On-site IT will take care of adding the wireless access points to the controller.
2. Do we have licensing for the wireless access points or do we need to include that in the quote?
   1. We have licenses.

Questions asked during the High School Walkthrough:

1. Are additional patch panels needed?
   1. No.
2. Where will the wireless access points be wired back to?
   1. Room 111 will need cabling to Data Room 203.
   2. Room 101 and 416 will need cabling to Data Room 450.
   3. Wren Room will need cabling to the office.
3. Are there firewall holes between rooms?
   1. There are dropped ceilings between all rooms.
4. Can Panduit accept Leviton jacks?
   1. No.
5. Is this a turn key project:
   1. Yes.
6. Can the district provide a lift at the Ag Building?
   1. Yes.