WALK THROUGH Q&A

Question: Are there existing cable paths for all line pulls?

Answer: Yes.

Question: Is wire mold or conduit needed?

Answer: Possibly, but please bid as if not.  District will provide, or will pay for these outlier situations outside of the e-rate processes if needed.

Question: How do you want the fiber terminated?

Answer: Vendor's choice, but must be the same for all terminations (no mixing or switching mid-job).

Question: Are racks or other mounting equipment required?

Answer: District will provide racks, rack mount fiber termination boxes are required.

Question:  Is full termination (all strands) required?

Answer: Yes.