Coldspring – Oakhurst Walkthrough Questions 1/14/19

* What does the current wireless network consist of? Would we entertain a cloud solution for the requested new APs?

Current wireless network consists of two Ruckus ZoneDirector 3000 controllers and 110 ZoneFlex 7982 access points. Yes, we will consider cloud solutions as well.

* In regards to the Cat 6 network drops, do we need the jumper cables from the patch panel to the switches?

We would like 3ft jumper cables included with this, if possible.

* In the locations where new racks are being installed with network drops going to those locations; will a patch panel be provided to connect to?

Some of the locations will need patch panels to be installed with the network drops. This will be in the locations of the new IDF racks, since there is currently nothing installed.