Mandatory Walkthrough Questions

1. Will the Extreme switches require a 10Gb license?

Yes.

2. What model Extremes are currently installed?

 X460G2 at the core and X440G2 at the HS.

3. Is the existing underground conduit passable?

 I do not know.  The bid should include the possibility of a new underground conduit.